## Slide 1: Analysis of Robot Data
Objective: To compare Robot’s efficiency versus PMD and how it relates to Patient Safety

## Slide 2: Talking Points
PMD made it known that Robot is taking longer to put a patient on tele than the runner would. A runner is a position in PMD that puts patient on tele, picks up tele discharges, and other errands as necessary to make sure the patient is being monitored.
PMD was advised to collect data on how long it takes a patient to have telemetry applied with a Robot delivery.
This report is an analysis of the data PMD collected.
The next slide is dashboard of the charts and tables used in this analysis for review. Click further for a deeper analysis of them.

## Slide 4: The Process
PMD is notified by phone call from RN that telemetry is ordered.
PMD gathers the telemetry device to get it ready for patient.
PMD notifies Robot with the screen inside the room.
Robot arrives where it prompts PMD to put tele in a selection of drawers.
PMD places telemetry in drawer and Robot leaves to the floor.
Robot arrives to at the floor where it notifies the floor it is there.
Employee on the floor takes telemetry from Robot.

## Slide 5: The graphics below are a summary comparison between floors to determine if there is a difference in time between floors on patients having telemetry applied. It is to be noted, PMD before the runner position was removed from placing tele on patients, it was expected the runner to have tele applied to the patient within 30 minutes of the order being called. 4G is doing the best out of all floors as 47% of orders being placed on patients within 30 minutes of the phone call. 5W is doing the worst out of all floors as 0% of order being placed on patients within 30 minutes of the phone call.
Chart: Percentage of Tele Admissions Being Put On Patient In < 30 Mins With Robot Delivery
| 2G | 3G | 3S | 3W | 4G | 4S | 5S | 5W | 6S | 7S
Moxi Delivery | 0.33333 | 0.2 | 0.13333 | 0.25 | 0.47222 | 0.13333 | 0.29412 | 0 | 0.21277 | 0.1
PMD Runner | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667 | 0.041667

## Slide 6: The graphics below show the percentage of time a telemetry device is applied to the patient. As previously stated, PMD’s expectation was within 30 minutes. The graphics below show the percentage of time a Robot delivery had a telemetry device applied to the patient over 30 minutes. The absolute best was 4G where the tele being applied within 30 minutes was only 53%. The worst were 5W, 7S, and 3S coming in at 100% and 90% of not having the patient applied to tele within 30 minutes.
Chart: Percentage of Tele Admissions Being Put On Patient In > 30 Mins With Robot Delivery
| 2G | 3G | 3S | 3W | 4G | 4S | 5S | 5W | 6S | 7S
Total | 0.66667 | 0.8 | 0.86667 | 0.75 | 0.52778 | 0.86667 | 0.70588 | 1 | 0.78723 | 0.9

## Slide 7: The graphics below are a summary of the previous two slides. To summarize, Robot delivery to every floor is not meeting the same expectations that were put upon PMD. The floor that is doing the best at getting tele applied to the patient is 4G and they are not even able to do it half of the time.

## Slide 8: Below are graphics comparing how long it takes a Robot have a patient applied to tele vs PMD. On average it takes Robot 77 minutes get a patient applied to tele vs PMD’s maximum of 30 minutes. 3W is the closest floor to PMD’s standard averaging at 39 minutes to have a patient applied to tele. This comes in at 5% of which is only 1% higher than PMD’s 4% maximum. 7S is the worst averaging 120 minutes (2 hours) at getting a patient on tele. That comes to 17% of the shift, the patient is off tele.

## Slide 9: Review and Suggestions
The findings of the data suggest a potential patient safety concern.
  Patients were deemed to be in need of cardiac monitoring.
  However, it takes over double the time (77 minutes) for Robot deliveries to meet the expectation of the employees that were previously responsible for getting the patients on tele.
  If a patient were to experience a life-threatening cardiac event within that time, no one would be aware of the patient expiring until 77 minutes, on average.
  Some floors appear to do better at others but all of them failed to meet the expectation of PMD’s runner position on a consistent basis.

## Slide 10: Review and Suggestions Continued
Suggestions
  Supply PMD with a runner again to meet expectations of having a patient on tele before a potential life-threatening cardiac event happens.
  Better training on the floors to have patients on tele as soon as the tele arrives.
  Remove Robot from the responsibility of delivering teles to separate duties around the hospital that are not involved with potential life-threatening events.